|  | SCHEDULE B - QUOTATION |
| --- | --- |

RFQ Title:	Preventative Maintenance Servicing of Standby Power Units

RFQ No:	1220-040-2018-056

CONTRACTOR

Legal Name:

Contact Person and Title:

Business Address:

Business Telephone:

Business Fax:

Business E-Mail Address:

CITY OF SURREY

City Representative:	Richard D. Oppelt, Purchasing Manager

Address:		Surrey City Hall

Finance Department – Purchasing Section

Reception Counter – 5th Floor West

13450 - 104 Avenue, Surrey, BC V3T 1V8, Canada

E-mail for PDF Files:	purchasing@surrey.ca

1.	If this Quotation is accepted by the City, a contract will be created as described in:

(a)	the Agreement;

(b)	the RFQ; and

(c)	other terms, if any, that are agreed to by the parties in writing.

2.	Capitalized terms used and not defined in this Quotation will have the meanings given to them in the Agreement and RFQ.  Except as specifically modified by this Quotation, all terms, conditions, representations, warranties and covenants as set out in the Agreement and RFQ will remain in full force and effect.

3.	I/We have reviewed the RFQ Attachment 1 – Draft Agreement. If requested by the City, I/we would be prepared to enter into that Agreement, amended by the following departures (list, if any):

Section			Requested Departure(s) / Alternative(s)

4.	The City requires that the successful Contractor have the following in place before providing the Goods and Services:

- Workers’ Compensation Board coverage in good standing and further, if an “Owner Operator” is involved, personal operator protection (P.O.P.) will be provided,

Workers' Compensation Registration Number ___________________________;

- Prime Contractor qualified coordinator is Name:  _______________

and Contact Number:  _________________________;

- Insurance coverage for the amounts required in the proposed Agreement as a minimum, naming the City as additional insured and generally in compliance with the City’s sample insurance certificate form available on the City’s Website Standard Certificate of Insurance;

(d)	City of Surrey or Intermunicipal Business License:  Number ________________;

(e)	If the Contractor’s Goods and Services are subject to GST, the Contractor’s GST Number is _____________________________________; and

(f)	If the Contractor is a company, the company name indicated above is registered with the Registrar of Companies in the Province of British Columbia, Canada, Incorporation Number ___________________________________.

As of the date of this Quotation, we advise that we have the ability to meet all of the above requirements except as follows (list, if any):

Requested Departure(s) / Alternative(s)

5.	The Contractor acknowledges that the departures it has requested in Sections 3 and 4 of this Quotation will not form part of the Agreement unless and until the City agrees to them in writing by initialing or otherwise specifically consenting in writing to be bound by any of them.

SECTION B-1

Changes and Additions to Specifications:

6.	In addition to the warranties provided in the Agreement, this Quotation includes the following warranties:

7.	I/We have reviewed the RFQ Attachment 1, Schedule A – Specifications of Goods and Scope of Services, to Attachment 1.  If requested by the City, I/we would be prepared to meet those requirements, amended by the following departures and additions (list, if any):

Requested Departure(s) / Alternative(s) / Addition(s)

SECTION B-2

Fees and Payments

8.	The Contractor offers to supply to the City of Surrey the Goods and Services as described in Schedule A for the prices plus applicable taxes as follows:

| SUMMARY OF PRICES CURRENCY: Canadian |
| --- |
| Title | Amount |
| Pump Stations Generators – PM | $ |
| City Facility Building Generators – PM | $ |
| City Fire Hall Generators – PM & LBT | $ |
| Annual Load Bank Testing – All Sites (Excluding Fire Halls) | $ |
| Subtotal: | $ |
| GST 5% | $ |
| Total Quotation Price | $ |

Note:	Overheads, General Conditions and Profit are to be included in the above amounts.

Payment Terms:

A cash discount of ____% will be allowed if invoices are paid within ___ days, or the ___ day of the month following, or net 30 days, on a best effort basis.

NOTE:

APPROXIMATE QUANTITIES

The estimated amount of scheduled Service visits to be supplied are listed in Schedule B, below.  The quantities shown are an estimate for purpose of comparing financial quotations only.  The City does not expressly nor by implication agree that the actual amount of scheduled Service visits will correspond even approximately to this estimate but reserves the right to increase or decrease the amount of Services or to omit portions of the Services that may be deemed necessary or expedient by the City.  The Contractor shall make no claim for anticipated profits, for loss of profit, for damages, or for any extra payment whatsoever, except as provided for herein, because of any difference between the amount of Services actually supplied and the quantities stated in Schedule B.

| PUMP STATIONS GENERATORS – PM |
| --- |
| Unit # | Site Name | Address | Make | Model | Price per Service visit for PM as described in Schedule A | Estimated Scheduled Service Visits | Total Amount |
| 86R005 | Bear Creek Lift Station | 7850 144 St. | Deutz | F4L912 | $ | 60 | $ |
| 92R007 | Big Bend Lift Station | 17601 104 Ave. | Detroit | 60 Series | $ | 60 | $ |
| 90R002 | Bridgeview East Vac Stn | 12933 114 A Ave. | CAT | 3406DI | $ | 60 | $ |
| 85R004 | Bridgeview West Vac Stn | 125 A St. & 114 Ave. | CAT | 3406DI | $ | 60 | $ |
| 09R034 | Campbell Heights Lift Stn | 19210 21 Ave. | Cummins | 6 CTA-8.3 | $ | 60 | $ |
| 99R030 | Clayton Pump Station | 190 St. & 72 Ave. | Cat | C-18 | $ | 60 | $ |
| 86R006 | Elgin Lift Station | 3603 King George Blvd.. | Ford | LSG-8751-6005-A | $ | 60 | $ |
| 02R025 | Fleetwood Booster Station | 9000 Fleetwood Way | Cummins | VTA28-G5 | $ | 60 | $ |
| 00R028 | Grandview Pump Station | 16666 24 Ave. | Cummins | QSX15-G9 | $ | 60 | $ |
| 97R024 | Greenway Lift Station | 172 St. & 86 A Ave. | John Deere | 4045 | $ | 60 | $ |
| 99R016 | Kennedy Pump Station | 12171 90 Ave. | Cummins | VT 12-800-GC | $ | 60 | $ |
| 11R066 | Liverpool Lift Station | 12540 114 Ave. | John Deere | 6068 | $ | 60 | $ |
| 79R012 | Manson Pump Station | 10650 Timberland Rd. | Cummins | VT12800GS | $ | 60 | $ |
| 13R069 | Maple Drainage Pump St | Maple St Crescent Beach | John Deere | 5030HF285 | $ | 60 | $ |
| 99R031 | Morgan Creek 1 Lift Stn | 16400 Highpark Ave. | John Deere | 6068 | $ | 60 | $ |
| 14R070 | Morgan Creek 2 Lift Stn | 15900 37 Ave. | John Deere | 6090HFG96 | $ | 60 | $ |
| 95R010 | Newton Pump Station | 128 St. & 62 A Ave. | Cummins | VTA-1710PG800 | $ | 60 | $ |
| 06R008 | North Bluff Lift Station | 1577 161 St. | Caterpillar | 3406B | $ | 60 | $ |
| 00R001 | North Cloverdale Lift Station | 6800 176 St. | Detroit | 92 Series 80637405 | $ | 60 | $ |
| 94R009 | Ocean Park 1 Lift Station | 12 B Ave & 132 B St. | John Deere | 6081 | $ | 60 | $ |
| 12R067 | Pattullo Pump Station | Old Yale Road @ River | Volvo | TAD1241GE | $ | 60 | $ |
| 10R065 | Peace Portal Lift Station | 17480 4 Ave. | John Deere | 6068HF285 | $ | 60 | $ |
| 00R029 | Port Kells Lift Station | 9800 190 St. | John Deere | 4045 | $ | 60 | $ |
| 07R026 | Quibble Creek Lift Station | King George & 94 A Ave. | Cat 3412 | 3412 | $ | 60 | $ |
| 02R018 | Royal City Pump Station | 11500 Block 126 A St. | Cummins | NTA855P | $ | 60 | $ |
| 99R463 | Semiahmoo Lift Station | 16025 8Th Ave. | Detroit | 62V92TA | $ | 60 | $ |
| 82R003 | South Westminster Vac Stn | 10643 Span Road | Cummins | NT-855-0 | $ | 60 | $ |
| 99R032 | Southport Lift Station | 3653 Elgin Road | Cummins | NTA-855-G2 | $ | 60 | $ |
| 90R014 | Sullivan Lift Station | 12300 Sullivan St. | Ford | CSG649 | $ | 60 | $ |
| 99R015 | Sunnyside 2 Pump Station | 2200 146 St. | Cummins | 450 P0281 11648A | $ | 60 | $ |
| 99R033 | West Newton Lift Station | 6909 122 St. | Cummins | DGDB-7277920 | $ | 60 | $ |
| 00R020 | Whalley Pump Station | 14650 105 A Ave. | IH | KS 3992 | $ | 60 | $ |
| 94R052 | Works Yard 35 Kw | 6651 148 St | Perkins | 4.236 LD35008.F2314 | $ | 60 | $ |
| 05R027 | Works Yard 50 Kw | 6651 148 St | John Deere | 5030 | $ | 60 | $ |
| 01R022 | Works Yard Storage 125 Kw | 6651 148 St | John Deere | 6068 | $ | 60 | $ |
| 01R019 | Works Yard Storage 85a Kw | 6651 148 St | John Deere | 4045 | $ | 60 | $ |
| 01R021 | Works Yard Storage 85b Kw | 6651 148 St | John Deere | 4045 | $ | 60 | $ |
| 84R056 | WY Fleet 230 Kw | 6651 148 St | Cummins | NT855 | $ | 60 | $ |
| 16R075 | Newfield Lift Station | 17000 105A Ave | Kohler MDC | 6135HF675 | $ | 60 | $ |
| 16R076 | Burkhart Lift Station | 15410 68 Ave | John Deere | 4045HF285 | $ | 60 | $ |
| 16R077 | Douglas Sanitary Pump Station | 200 171 St | John Deere | 4045HF285 | $ | 60 | $ |
| 16R078 | Stewart Farm Lift Station | 1389 Crescent Road | John Deere | 4045HF285 | $ | 60 | $ |
| Subtotal Pump Stations Generators – PM: | $ |

(Carry Subtotal Pump Stations Generators – PM Total Amount forward to Pump Stations Generators – PM on the Summary of Prices)

| CITY FACILITY BUILDING GENERATORS – PM |
| --- |
| Unit # | Site Name | Address | Make | Model | Price per Service visit for PM as described in Schedule A | Estimated Scheduled Service Visits | Total Amount |
| 06R061 | RCMP HQ West (Old City Hall) | 14245 56 Ave | Volvo | TAD1241GE | $ | 60 | $ |
| 14R071 | Guildford Aquatic Centre | 15105 105 Ave |  |  | $ | 60 | $ |
| 13R068 | New City Hall | 13450 104 Ave. | Mitsubishi | S12R-YIPTA-2 | $ | 60 | $ |
| 82R053 | Newton Wave Pool | 72 Ave & King G | Ford | LSG-4231-6006-A | $ | 60 | $ |
| 80R054 | North Surrey Rec. Centre | 134 Street & 103 Ave. | Onan | RJC-4R/12361T | $ | 60 | $ |
| 91R057 | South Surrey Arena | 148 St. & 22 Ave. | Mitsubishi | 6D14NAS | $ | 60 | $ |
| 03R062 | Surrey Sport & Leisure | 166 St. & Fraser Hwy | Cummins | BT3.9-G4 | $ | 60 | $ |
| 14R073 | Operations Centre | 6651 148 St | John Deere | 6135HFG75A | $ | 60 | $ |
| 14R072 | Grandview Aquatic Centre | 16855 24 Ave. | PSI | EPSIB4.3O2ED | $ | 60 | $ |
| 17R079 | South Operations Works Yard | 14867 66 Ave. | John Deere | 4045HF285 | $ | 60 | $ |
| 10R064 | RCMP Annex | 143 St & 57 Ave. | CAT | C15 | $ | 60 | $ |
| 03R060 | RCMP Guildford | 148 St. & 104 Ave. | OHVI | OE6219 | $ | 60 | $ |
| 89R055 | RCMP Headquarters | 143 St. & 57 Ave. | CAT | 3306B | $ | 60 | $ |
| 03R059 | RCMP Semiahmoo Library | 152 St & 18 Ave. | Cummins | B3.3-G2 | $ | 60 | $ |
| 04R063 | RCMP Surrey City Centre | King George & 107 A Ave. | John Deere | 4045 | $ | 60 | $ |
| Subtotal City Facility Building Generators – PM: | $ |

(Carry Subtotal City Facility Building Generators – PM Total Amount forward to City Facility Building Generators – PM on the Summary of Prices)

| CITY FIRE HALL GENERATORS – PM & LBT |
| --- |
| Unit # | Site Name | Address | Make | Model | Price per Service visit for PM as described in Schedule A | Estimated Scheduled Service Visits | Total Amount |
| 1001 | Fire Hall 1 | 8767 132nd Street, Surrey, BC V3W 4P1 | Kohler – John Deere | 150REOZJD | $ | 5 | $ |
| 1001A | Fire Hall 1 | 8767 132nd Street, Surrey, BC V3W 4P1 | Onan | 80DGDA | $ | 5 | $ |
| 1002 | Fire Hall 2 | 13079 104th Avenue, Surrey, BC V3T 1T8 | Onan - Cummins | 100DGDB | $ | 5 | $ |
| 1004 | Fire Hall 4 | 14586 108th Avenue, Surrey, BC V3R 1V7 | Katolight - Perkins | 8790326 | $ | 5 | $ |
| 1005 | Fire Hall 5 | 10042 176 Street, Surrey, BC V4N 4H4 | Simpower - Nissan | SD22 | $ | 5 | $ |
| 1006 | Fire Hall 6 | 9049 152 Street, Surrey, BC V3R 4E6 | Kohler – John Deere | 30ROZJ | $ | 5 | $ |
| 1008 | Fire Hall 8 | 17572 57th Avenue, Surrey, BC V3S 1G7 | Kohler – John Deere | 30ROZJ | $ | 5 | $ |
| 1009 | Fire Hall 9 | 14901 64th Avenue, Surrey, BC V3S 1X8 | Kohler | 100ROZJ8 | $ | 5 | $ |
| 1010 | Fire Hall 10 | 7278 132nd Street, Surrey, BC V3W 4M4 | John Deere Katolight | D105FPJ4 | $ | 5 | $ |
| 1011 | Fire Hall 11 | 12863 60th Avenue, Surrey, BC V3W 1R3 | Northstar | 20.ODL4-B.1483F | $ | 5 | $ |
| 1012 | Fire Hall 12 | 2610 128th Street, Surrey, BC V4A 3W5 | Stamford | V2203 | $ | 5 | $ |
| 1013 | Fire Hall 13 | 15155 18th Street, Surrey, BC V4A 6Y2 | Simson Maxwell | GSCP-9 | $ | 5 | $ |
| 1014 | Fire Hall 14 | 2016 176th Street, Surrey, BC V3S 9V4 | Kohler | 126REOZJB | $ | 5 | $ |
| 1015 | Fire Hall 15 | 18915 64th Avenue, Surrey, BC V3S 8E7 | Cummins | 20DGAB | $ | 5 | $ |
| 1017 | Fire Hall 17 | 15329 32nd Avenue, Surrey, BC V3Z 0G3 | Onan - Cummins | 4BT3.9-G2 | $ | 5 | $ |
| 1018 | Fire Hall 18 | 8091 164th Street, Surrey, BC V4N 0P1 | Cummins | 20DKAE | $ | 5 | $ |
|  | North Repeater | 500 Mariner Way, Coquitlam | Onan | 80DGCA – 6BT5.9-G1 | $ | 5 | $ |
|  | West Repeater | 6275 128 Street, Surrey (entrance is via 62A and into a back alley) | Onan | 20DGAB 4A2-3G1 | $ | 5 | $ |
|  | South Repeater | 20575 0 Ave, Langley (entrance via 0 Ave) | Onan |  | $ | 5 | $ |
| Subtotal City Fire Hall Generators – PM & LBT: | $ |

(Carry Subtotal City Fire Hall Generators – PM & LBT Total Amount forward to City Fire Hall Generators – PM & LBT on the Summary of Prices)

| ANNUAL LOAD BANK TESTING – ALL SITES (EXCLUDING FIRE HALLS) |
| --- |
| Description | Price per Service visit for LBT as described in Schedule A | Estimated Scheduled Service Visits | Total Amount |
| Load Bank Testing per site | $ | 285 | $ |
| Other (specify) |  |  | $ |
| Other (specify) |  |  | $ |
| Subtotal Annual Load Bank Testing – All Sites (Excluding Fire): | $ |

(Carry Subtotal Annual Load Bank Testing – All Sites (Excluding Fire Halls) Total Amount forward to Annual Load Bank Testing – All Sites (Excluding Fire Halls) on the Summary of Prices)

Force Account Labour and Equipment Rates:

9.	Contractors provide a schedule of labour rates and vehicle charges for the following setting out the all-inclusive hourly labour rates including overhead and profit for approved extras/credits for all applicable categories of labour (use the spaces provided and/or attach additional pages, if necessary):

Hourly Labour Rate Schedule for Services:

| Item # | Item Description | Hourly Rate |
| --- | --- | --- |
| 1 | PM Call out during normal hours Monday to Friday 07:00 to 16:00 | $ |
| 2 | PM Call out, after hours, including weekends and statuary holidays as recognized by the Province of British Columbia | $ |
| 3 | PM Call out minimum charge | $ |
| 4 | LBT during normal hours Monday to Friday 07:00 to 16:00 | $ |
| 5 | LBT for after hours including weekends and statuary holidays as recognized by the Province of British Columbia | $ |
| 6 | Travel time (if any) | $ |
| 7 | Vehicle kilometre charges (if any) | $ |
| 8 | Labour rates for mechanical repairs, trouble shooting, service calls for repairs which fall outside the scope of monthly PM servicing and load bank testing | $ |
| 9 | Parts, materials, and third party services will be provided at cost plus markup, please provide a markup schedule. Copies of parts, materials, and third party services invoices shall be provided as backup to the Contractor’s invoice | % |

SECTION B-3

Time Schedule:

10.	Contractors should provide an estimated schedule, with major item descriptions and times indicating a commitment to provide the Goods and perform the Services within the time specified (use the spaces provided and/or attach additional pages, if necessary).

MILESTONE DATES __________________________________

| ACTIVITY | SCHEDULE |
| --- | --- |
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |

SECTION B-4

Key Personnel & Sub-Contractors:

11.	Contractors should provide information on the background and experience of all key personnel proposed to provide the Goods and Services (use the spaces provided and/or attach additional pages, if necessary):

Key Personnel

| Name: |  |
| --- | --- |
| Experience: |  |
| Dates: |  |
| Project Name: |  |
| Responsibility: |  |

12.	Contractors should provide the following information on the background and experience of all sub-contractors and material suppliers proposed to undertake a portion of the Goods and Services (use the spaces provided and/or attach additional pages, if necessary):

| Description of Goods & Services | Sub-Contractors & Material Suppliers Names | Years of Working with Contractor | Telephone Number and Email |
| --- | --- | --- | --- |

SECTION B-5

Experience and References:

13.	Contractor's should provide information on their relevant experience and qualifications in delivering Goods and Services similar to those required by the Agreement (use the spaces provided and/or attach additional pages, if necessary):

14.	Contractor's should provide information on their relevant references (name and telephone number).  The City's preference is to have a minimum of three references.  Previous clients of the Contractor may be contacted at the City’s discretion (use the spaces provided and/or attach additional pages, if necessary):

15.	Contractor should describe their sustainability initiatives relating to the environmental impacts. The environmental attributes (green) of their Goods and Services. Anticipated objectives (e.g. carbon neutral by 2015). Information pertaining to their environmental policies, programs and practices. Confirm that the Contractor complies with any applicable objective (use the spaces provided and/or attach additional pages, if necessary):

Metro Vancouver’s Non-Road Diesel Engine Emissions Regulation By-law:

16.	Contractors should confirm they are in compliance with By-law (if applicable):

( Applicable as follows   ( Not applicable to this project

| No. | Equipment Description | Engine Tier Designation | Engine Registration Number as Issued by Metro Vancouver |
| --- | --- | --- | --- |
| 1 |  | ( Tier 0 or ( Tier 1 |  |
| 2 |  | ( Tier 0 or ( Tier 1 |  |
| 3 |  | ( Tier 0 or ( Tier 1 |  |
| 4 |  | ( Tier 0 or ( Tier 1 |  |
| 5 |  | ( Tier 0 or ( Tier 1 |  |

17.	I/We the undersigned duly authorized representatives of the Contractor, having received and carefully reviewed the RFQ and the Agreement, submit this Quotation in response to the RFQ.

This Quotation is offered by the Contractor this _______ day of _______________, 201_.

CONTRACTOR

I/We have the authority to bind the Contractor:

| ________________________________________ (Legal Name of Contractor) _________________________________________ (Signature of Authorized Signatory) _______________________________________ (Print Name and Position of Authorized Signatory) | ________________________________________ (Signature of Authorized Signatory) ________________________________________ (Print Name and Position of Authorized Signatory) |
| --- | --- |