|  | SCHEDULE B - QUOTATION |
| --- | --- |

RFQ Title:	Fuel Island Dispensers Replacement for
Surrey Main Operations Centre

RFQ No:	1220-040-2016-071

CONTRACTOR

Legal Name:

Address:

Phone:

Fax:

Email:

CITY OF SURREY

City Representative:	Richard D. Oppelt, Purchasing Manager

Address:		Surrey City Hall

Finance & Technology Department – Purchasing Section

Reception Counter – 5th Floor West

13450 - 104 Avenue, Surrey, B.C., Canada, V3T 1V8

E-mail for PDF Files:	purchasing@surrey.ca

1.	If this Quotation is accepted by the City, a contract will be created as described in:

(a)	the Agreement;

(b)	the RFQ; and

(c)	other terms, if any, that are agreed to by the parties in writing.

2.	Capitalized terms used and not defined in this Quotation will have the meanings given to them in the Agreement and RFQ.  Except as specifically modified by this Quotation, all terms, conditions, representations, warranties and covenants as set out in the Agreement and RFQ will remain in full force and effect.

3.	I/We have reviewed the RFQ Attachment 1 – Draft Agreement. If requested by the City, I/we would be prepared to enter into that Agreement, amended by the following departures (list, if any):

Section			Requested Departure(s) / Alternative(s)

4.	The City requires that the successful Contractor have the following in place before providing the Goods and Services:

- Workers’ Compensation Board coverage in good standing and further, if an “Owner Operator” is involved, personal operator protection (P.O.P.) will be provided,

Workers' Compensation Registration Number ___________________________;

- Prime Contractor qualified coordinator is Name:  _______________

and Contact Number:  _________________________;

- Insurance coverage for the amounts required in the proposed Agreement as a minimum, naming the City as additional insured and generally in compliance with the City’s sample insurance certificate form available on the City’s Website Standard Certificate of Insurance;

(d)	City of Surrey or Intermunicipal Business License:  Number ________________;

(e)	If the Contractor’s Goods and Services are subject to GST, the Contractor’s GST Number is _____________________________________; and

(f)	If the Contractor is a company, the company name indicated above is registered with the Registrar of Companies in the Province of British Columbia, Canada, Incorporation Number ___________________________________.

As of the date of this Quotation, we advise that we have the ability to meet all of the above requirements except as follows (list, if any):

Requested Departure(s) / Alternative(s)

5.	The Contractor acknowledges that the departures it has requested in Sections 3 and 4 of this Quotation will not form part of the Agreement unless and until the City agrees to them in writing by initialing or otherwise specifically consenting in writing to be bound by any of them.

SECTION B-1

Changes and Additions to Specifications:

6.	In addition to the warranties provided in the Agreement, this Quotation includes the following warranties:

7.	I/We have reviewed the RFQ Attachment 1, Schedule A – Specifications of Goods and Scope of Services, to Attachment 1.  If requested by the City, I/we would be prepared to meet those requirements, amended by the following departures and additions (list, if any):

Requested Departure(s) / Alternative(s) / Addition(s)

SECTION B-2

Fees and Payments

8.	The Contractor offers to supply to the City of Surrey the Goods and Services for the prices plus applicable taxes as follows: To provide all labour, materials, tools, plant and equipment and all other services necessary for the supply and installation and commissioning of fuel island dispensers at City of Surrey, Main Operations Centre as stated in the specifications, located at 6651 – 148th Street, Surrey, B.C.:

| F.O.B. Destination, Freight Prepaid | Payment Terms: A cash discount of ____% will be allowed if invoices are paid within ___ days, or the ___ day of the month following, or net 30 days, on a best effort basis. | Ship Via: |
| --- | --- | --- |
| No. | Description | Qty. | Amount ($) |
| A. | Gasoline Island |  |  |
|  | Commercial Electronic Suction Pump, | Two (2) | $ |
|  | One product / two island oriented nozzle boots |  |  |
|  | Capacity up to 83 litres per minute |  |  |
|  | 1 hp CD motor |  |  |
|  | Electronic meter calibration |  |  |
|  | Back-lit LCD displays |  |  |
|  | Litres registration |  |  |
|  | Weights & Measures certified |  |  |
|  | External filters |  |  |
|  | Pulse output for FMS control |  |  |
|  | Stainless Steel Side Panels |  |  |
|  | Stainless Steel Door Panels |  |  |
|  | 3/4" x 15' curb pump hoses |  |  |
|  | 3/4" x 9" curb pump hose whips |  |  |
|  | 3/4" automatic shut off nozzles with hand insulators and fill guards |  |  |
|  | 3/4" 2-plane swivels |  |  |
|  | 3/4" single use breakaway connector valves |  |  |
|  | Branded - "Unleaded" or "Gasoline" |  |  |
|  | NOTE: Pump shall integrate into City's fuel management software – Computrol. |  |  |
| B. | Diesel Island |  |  |
| B.1 | Commercial Electronic Dispenser | One (1) | $ |
|  | One product / one island oriented nozzle boot |  |  |
|  | Capacity up to 83 litres per minute |  |  |
|  | Electronic meter calibration |  |  |
|  | Back-lit LCD displays |  |  |
|  | Litres registration |  |  |
|  | Weights & Measures certified |  |  |
|  | Internal filter |  |  |
|  | Pulse output for FMS control |  |  |
|  | Stainless Steel Side Panels |  |  |
|  | Stainless Steel Door Panels |  |  |
|  | 1" x 25' curb pump hose |  |  |
|  | 1" x 12" curb pump hose whip |  |  |
|  | 1" automatic shut off nozzle with hand insulator and fill guard |  |  |
|  | 1" 2-plane swivel |  |  |
|  | 1" single use breakaway connector valve |  |  |
|  | Branded - "Diesel" |  |  |
|  | NOTE: Pump shall integrate into City's fuel management software – Computrol. |  |  |
| B.2 | Commercial Electronic Ultra High Capacity Dispenser | One (1) | $ |
|  | One product / two island oriented nozzle boots |  |  |
|  | Capacity up to 230 litres per minute |  |  |
|  | Electronic meter calibration |  |  |
|  | Back-lit LCD displays |  |  |
|  | Litres registration |  |  |
|  | Weights & Measures certified |  |  |
|  | Dual Filters per hose |  |  |
|  | Pulse output for FMS control |  |  |
|  | Stainless Steel Side Panels |  |  |
|  | Stainless Steel Door Panels |  |  |
|  | 1" x 25' curb pump hoses |  |  |
|  | 1" x 12" curb pump hose whips |  |  |
|  | 1" automatic shut off nozzles with hand insulators and fill guards |  |  |
|  | 1" 2-plane swivels |  |  |
|  | 1" single use breakaway connector valves |  |  |
|  | Branded - "Diesel" |  |  |
|  | NOTE: Pump shall integrate into City's fuel management software – Computrol. |  |  |
| C. | Supplied, installed and commissioned by certified petroleum installer(s) |  |  |
|  | Work to include: |  | $ |
|  | Removal & safe disposal of existing fuel dispensing equipment |  |  |
|  | New equipment mounted to existing fuel islands (minor modifications are the responsibility of the successful contractor; major alterations if required to be negotiated) |  |  |
|  | Supply / install fire and impact valves as and where required |  |  |
|  | Adaptation of existing electrical to new pumps and dispensers (minor modifications are the responsibility of the successful contractor; major alterations if required to be negotiated) |  |  |
|  | Adaptation of existing communication wiring between new pumps/ dispensers and existing FMS (minor modifications are the responsibility of the successful contractor; major alterations if required to be negotiated) |  |  |
|  | Commissioning of new equipment and FMS |  |  |
|  | Test for proper operation and communications to City Operations Hub |  |  |
|  | Removal and safe disposal of existing high hose retractors on diesel island |  |  |
|  | Supply / install of replacement 10' high hose retractors with hinged base plates and 1" hose bun cradles (using suitable anchors to secure bases to existing concrete island) |  |  |
|  | Required permits |  |  |
| Note: Overheads, General Conditions and Profit are to be included in the above amounts. |  |
| CURRENCY: Canadian | Subtotal | $ |
|  | PST 7% | $ |
|  | GST 5% | $ |
|  | TOTAL QUOTATION PRICE | $ |

SECTION B-3

Additional Information:

- Detailed list of Charge out Rates.

- Manufacturer’s Warranty: Submit, for the City’s review, manufacturer’s standard warranty document.

- Provide a letter from the manufacturer of the units confirming that you are an authorized reseller of good standing for the product(s) you are proposing. The letter should also confirm that the Contractor (or sub-contractors) are certified by the manufacturer for the complete installation and commissioning of the units.

SECTION B-4

Time Schedule:

Contractors should provide an estimated schedule, with major item descriptions and times indicating a commitment to provide the Goods and perform the Services within the time specified (use the spaces provided and/or attach additional pages, if necessary). Contractors should confirm their ability to meet this schedule or complete the project in shorter time by indicating so in the Time Schedule.

MILESTONE DATES __________________________________

| ACTIVITY | SCHEDULE |
| --- | --- |
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |

SECTION B-5

Key Personnel & Sub-Contractors:

13.	Contractor should provide information on the background and experience of all key personnel proposed to provide the Goods and Services (use the spaces provided and/or attach additional pages, if necessary):

Key Personnel

| Name: |  |
| --- | --- |
| Experience: |  |
| Dates: |  |
| Project Name: |  |
| Responsibility: |  |

| Name: |  |
| --- | --- |
| Experience: |  |
| Dates: |  |
| Project Name: |  |
| Responsibility: |  |

14.	Contractor should provide the following information on the background and experience of all sub-contractors and material suppliers proposed to undertake a portion of the Goods and Services (use the spaces provided and/or attach additional pages, if necessary):

| Description Of Goods & Services | Sub-Contractors & Material Suppliers Names | Years Of Working With Contractor | Telephone Number And Email |
| --- | --- | --- | --- |

SECTION B-6

Experience and References:

15.	Contractor's relevant experience and qualifications in delivering Goods and Services similar to those required by the Agreement (use the spaces provided and/or attach additional pages, if necessary):

16.	Contractor's relevant references (name and telephone number).  The City's preference is to have a minimum of three references.  Previous clients of the Contractor may be contacted at the City’s discretion (use the spaces provided and/or attach additional pages, if necessary):

17.	Contractor to describe their sustainability initiatives relating to the environmental impacts. The environmental attributes (green) of their Goods and Services. Anticipated objectives (e.g. carbon neutral by 2015). Information pertaining to their environmental policies, programs and practices. Confirm that the Contractor complies with any applicable objective (use the spaces provided and/or attach additional pages, if necessary):

18.	I/We the undersigned duly authorized representatives of the Contractor, having received and carefully reviewed the RFQ and the Agreement, submit this Quotation in response to the RFQ.

This Quotation is offered by the Contractor this _______ day of _______________, 201_.

CONTRACTOR

I/We have the authority to bind the Contractor

| ________________________________________ (Legal Name of Contractor) _________________________________________ (Signature of Authorized Signatory) _______________________________________ (Print Name and Position of Authorized Signatory) | ________________________________________ (Signature of Authorized Signatory) ________________________________________ (Print Name and Position of Authorized Signatory) |
| --- | --- |